机构名称：欧陆检测技术服务（上海）有限公司杭州分公司

注册号：L8278

地  址：

A：浙江省杭州市滨江区滨安路1180号华业高科技产业园4号楼2楼

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 初评 | 2016年01月18日 2016年3月30日 |
| 2 |  | 授权签字人(英文) | 初评 | 2016年01月18日 2016年3月30日 |
| 3 | A | 检测能力(中文) | 初评 | 2016年01月18日 |
| 4 |  | 检测能力(英文) | 初评 | 2016年01月18日 |

# Name：Eurofins Product Testing Service(Shanghai) Co., Ltd. Hangzhou Branch

# Registration No.：L8278

ADDRESS：

# A: 2/F., Building 4, Huaye Hi-Tech Industrial Park, No.1180, Bin'an Road, Binjiang District, Hangzhou, Zhejiang, China

# INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Initial assessment | 2016-01-18 2016-3-30 |
| 2 |  | Approved signatories (English) | Initial assessment | 2016-01-18 2016-3-30 |
| 3 | A | Testing ability(Chinese) | Initial assessment | 2016-01-18 |
| 4 |  | Testing ability(English) | Initial assessment | 2016-01-18 |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L8278）

名称: 欧陆检测技术服务（上海）有限公司杭州分公司

地址：浙江省杭州市滨江区滨安路1180号华业高科技产业园4号楼2楼

签发日期：2016年03月30日        有效期至：2019年01月17日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 刘 爽 | 全部检测项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L8278)

NAME: Eurofins Product Testing Service(Shanghai) Co., Ltd. Hangzhou Branch

ADDRESS: 2/F., Building 4, Huaye Hi-Tech Industrial Park, No.1180, Bin'an Road, Binjiang District, Hangzhou, Zhejiang, China

Date of Issue:  2016-03-30                    Date of Expiry: 2019-01-17

SCHEDULE 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Sara Liu | Apply for approval all test item |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L8278）

名称: 欧陆检测技术服务（上海）有限公司杭州分公司

地址：浙江省杭州市滨江区滨安路1180号华业高科技产业园4号楼2楼

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2016年01月18日         有效期至：2019年01月17日

附件2  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 纺织品 | 1 | 织物克重 | 纺织品 - 机织物 - 单位长度质量和单位面积质量的测定 ISO 3801:1977 |  |  |
|  |  |  |  | 纺织品单位面积质量(重量)的试验方法 ASTM D3776/D3776M-09ae2(2013) | 只测： 章节 C |  |
|  |  |  |  | 针织品公差规格 ASTM D3887-96(2008) | 只测： 章节9 |  |
| 1 | 纺织品 | 2 | 织物密度 | 纺织品 - 机织物 - 结构- 分析方法 - 第２部分：单位长度纱线根数的测定 ISO 7211/2:1984 |  |  |
|  |  |  |  | 机织物经纱（末端）和纬纱计数的试验方法 ASTM D3775-12 |  |  |
|  |  |  |  | 针织品公差规格 ASTM D3887-96(2008) | 只测： 章节12 |  |
|  |  | 3 | 洗涤尺寸稳定性 | 纺织品 测定尺寸变化的试验中织物试样和服装的准备、标记及测量 GB/T 8628-2013 |  |  |
|  |  |  |  | 纺织品 试验用家庭洗涤和干燥程序 GB/T 8629-2001 |  |  |
|  |  |  |  | 纺织品 洗涤和干燥后尺寸变化的测定 GB/T 8630-2013 |  |  |
| 1 | 纺织品 | 3 | 洗涤尺寸稳定性 | 纺织品 纺织试验用家庭洗涤和干燥程序 ISO 6330:2012 | 不测: Type C型洗衣机程序 |  |
|  |  |  |  | 纺织品 测定尺寸变化试验用服装和织物样品的制备、标记和测量 ISO 3759:2011 |  |  |
|  |  |  |  | 纺织品 洗涤和干燥后尺寸变化的测定 ISO 5077:2007 |  |  |
|  |  |  |  | 织物家庭洗涤后尺寸变化 AATCC 135-2014 |  |  |
| 1 | 纺织品 | 3 | 洗涤尺寸稳定性 | 成衣经家庭洗涤后的尺寸变化 AATCC 150-2012 |  |  |
|  |  |  |  | 织物和成衣经家庭洗涤后歪斜程度测定 AATCC 179-2012 |  |  |
|  |  | 4 | 燃烧 | 织物燃烧性能测试 US 16 CFR Part 1610-2009 | 不做干洗 |  |
|  |  | 5 | 异味 | 国家纺织产品基本安全技术规范 GB 18401-2010 6.7 |  |  |
|  |  | 6 | 耐汗渍色牢度 | 纺织品耐汗渍色牢度试验方法 GB/T 3922-2013 | 不测仪器评级 |  |
|  |  |  |  | 纺织品 色牢度试验 第E04部分：耐汗渍色牢度 ISO 105-E04:2013 |  |  |
|  |  |  |  | 耐汗渍色牢度 AATCC 15-2013 | 不测仪器评级 |  |
|  |  | 7 | 耐摩擦色牢度 | 纺织品 色牢度试验 耐摩擦色牢度 GB/T 3920-2008 |  |  |
|  |  |  |  | 纺织品.染色牢度试验 第X12 部分：耐摩擦的染色牢度 ISO 105-X12:2002 |  |  |
|  |  |  |  | 耐摩擦色牢度 AATCC 8-2013 | 不测仪器评级 |  |
| 1 | 纺织品 | 8 | 耐水色牢度 | 纺织品 色牢度试验 耐水色牢度 GB/T 5713-2013 |  |  |
| 1 | 纺织品 | 8 | 耐水色牢度 | 纺织品 色牢度试验 第E01部分：耐水色牢度 ISO 105 E01:2013 |  |  |
|  |  |  |  | 耐水色牢度 AATCC 107-2013 |  |  |
|  |  | 9 | 耐海水色牢度 | 纺织品 色牢度试验 第E02部分：耐海水色牢度 ISO 105 E02:2013 |  |  |
|  |  |  |  | 耐水色牢度：海水 AATCC 106-2013 | 不测仪器评级 |  |
|  |  | 10 | 耐洗涤色牢度 | 纺织品 色牢度试验 第CO6部分：耐家庭和商业洗涤色牢度 ISO 105-C06:2010 | 不测仪器评级 |  |
|  |  |  |  | 耐洗涤色牢度：加速型 AATCC 61-2013 | 只测： 1A, 2A；不测仪器评级 |  |
|  |  | 11 | 耐唾液色牢度 | 纺织品 色牢度试验 耐唾液色牢度 GB/T 18886-2002 |  |  |
|  |  | 12 | 纤维成分 (定性分析) | 纺织纤维鉴别试验方法 第1部分:通用说明 FZ/T 01057.1-2007 |  |  |
|  |  |  |  | 纺织纤维鉴别试验方法 第2部分:燃烧法 FZ/T 01057.2-2007 |  |  |
|  |  |  |  | 纺织纤维鉴别试验方法 第3部分:显微镜法 FZ/T 01057.3-2007 |  |  |
| 1 | 纺织品 | 12 | 纤维成分 (定性分析) | 纺织纤维鉴别试验方法 第4部分:溶解法 FZ/T 01057.4-2007 |  |  |
|  |  |  |  | 纤维分析：定性 AATCC 20-2013 | 不测：9.4折射系数法，9.6密度法，9.8干燥扭转，9.9着色实验，9.10熔点法 |  |
| 1 | 纺织品 | 13 | 纤维成分 (定量分析-机械拆分和化学分析) | 纺织品 定量化学分析 第1部分:试验通则 GB/T 2910.1-2009 ISO 1833-1:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第2部分：三组分纤维混合物 GB/T 2910.2-2009 ISO 1833-2:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第3部分：醋酯纤维与某些其他纤维的混合物(丙酮法) GB/T 2910.3-2009 ISO 1833-3:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第4部分：某些蛋白质纤维与某些其他纤维的混合物(次氯酸盐法) GB/T 2910.4-2009 ISO 1833-4:2006 |  |  |
| 1 | 纺织品 | 13 | 纤维成分 (定量分析-机械拆分和化学分析) | 纺织品 定量化学分析 第6部分：粘胶纤维、某些铜氨纤维、莫代尔纤维或莱赛尔纤维与棉的混合物(甲酸/氯化锌法) ISO 1833-6:2007 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第7部分：聚酰胺纤维与某些其他纤维混合物(甲酸法) GB/T 2910.7-2009 ISO 1833-7:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第8部分：醋酯纤维与三醋酯纤维混合物(丙酮法) ISO 1833-8:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第10部分：三醋酯纤维或聚乳酸纤维与某些其他纤维的混合物(二氯甲烷法) ISO 1833-10:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第11部分：纤维素纤维与聚酯纤维的混合物(硫酸法) GB/T 2910.11-2009 ISO 1833-11:2006 |  |  |
| 1 | 纺织品 | 13 | 纤维成分 (定量分析-机械拆分和化学分析) | 纺织品 定量化学分析 第12部分：聚丙烯腈纤维、某些改性聚丙烯腈纤维、某些含氯纤维或某些弹性纤维与某些其他纤维的混合物(二甲基甲酰胺法) GB/T 2910.12-2009 ISO 1833-12:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第14部分：醋酯纤维与某些含氯纤维的混合物(冰乙酸法) ISO 1833-14:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第16部分：聚丙烯纤维和某些其它纤维混纺物(二甲苯法) ISO 1833-16:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第17部分：含氯纤维(氯乙烯均聚物)与某些其他纤维的混合物(硫酸法) ISO 1833-17:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第18部分：蚕丝与羊毛或其他动物毛纤维的混合物(硫酸法) GB/T 2910.18-2009 ISO 1833-18:2006 |  |  |
|  |  |  |  | 纺织品 定量化学分析 第20部分：弹性和某种其他纤维混纺物(用二甲基乙酰胺法) GB/T 2910.20-2009 ISO 1833-20:2009 |  |  |
| 1 | 纺织品 | 13 | 纤维成分 (定量分析-机械拆分和化学分析) | 纺织品 定量化学分析 第21部分：含氯纤维、某些改性聚丙烯腈纤维、某些弹性纤维、醋酯纤维、三醋酯纤维与某些其他纤维的混合物(环己酮法) ISO 1833-21:2006 |  |  |
| 1 | 纺织品 | 13 | 纤维成分 (定量分析-机械拆分和化学分析) | 纺织品 定量化学分析 四组分纤维混合物 FZ/T 01026-2009 |  |  |
|  |  |  |  | 纤维分析: 定量法 AATCC 20A-2014 | 不测： 12.7二甲基甲酰胺法，12.9碱性甲醇法， 12.11 4% 氯化锂法和14 显微镜分析法 |  |
|  |  | 14 | 甲醛含量 | 纺织品 甲醛的测定 第1部分：游离和水解的甲醛(水萃取法) GB/T 2912.1-2009 ISO 14184-1:2011 |  |  |
| 1 | 纺织品 | 15 | pH值 | 纺织品 水萃取液pH值的测定 ISO 3071:2005 GB/T 7573-2009 |  |  |
|  |  |  |  | 湿处理纺织品水萃取液pH值的测试 AATCC 81-2012 |  |  |
|  |  | 16 | 禁用偶氮染料 | 纺织品 禁用偶氮染料的测定 GB/T 17592-2011 | 只用GC-MS法 |  |
|  |  |  |  | 纺织品 4-氨基偶氮苯的测定 GB/T 23344-2009 |  |  |
|  |  |  |  | 纺织品 某些源自于偶氮色剂的芳香胺的检测方法 第1部分：萃取法和非萃取法测定偶氮着色剂 EN 14362-1:2012 BS EN 14362-1:2012 | 只用GC-MS法 |  |
|  |  |  |  | 纺织品 某些源自于偶氮色剂的芳香胺的检测方法 第3部分：测定能释放出4-氨基偶氮苯的偶氮染料 EN 14362-3:2012 BS EN 14362-3:2012 |  |  |
| 2 | 纺织产品 | 1 | 全部参数 | 国家纺织产品基本安全技术规范 GB 18401-2010 |  |  |
| 3 | 儿童服装 | 1 | 绳索和束带安全 | 童装安全-童装上的绳索和下摆束带-规范 EN 14682:2014 |  |  |
|  |  | 2 | 拉带安全 | 儿童上身外衣拉带安全规格 ASTM F1816－97(2009) |  |  |
| 4 | 玩具及儿童用品 | 1 | 使用说明 | 消费品使用说明 第五部分: 玩具 GB 5296.5-2006 |  |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 国家玩具安全技术规范 GB 6675.2-2014 | 不测：4.16.2.2 b)玩具及类似玩具中的盖的支撑装置 ，4.21玩具自行车，4.22 电动童车的速度要求， 4.23热源玩具， 4.24 液体填充玩具， 4.25 口动玩具， 4.29磁铁和磁性部件， 5.11.3绳的线电阻率测试， 5.13.2玩具箱盖 测试，5.18 温升测试， 5.19液体填充玩具的渗漏测试 ， 5.20口动玩具耐久性测试，5.27 磁通量指数。 |  |
|  | 玩具及儿童用品 | 2 | 物理和机械性能 | 玩具安全 第一部分：物理和机械性能测试 ISO 8124-1:2014 | 不测：4.11.7飞行玩具的绳索、细绳或线，4.16.2.2玩具箱及类似玩具中的盖的支撑装置，4.19高速旋转翼或螺旋桨， 4.22 玩具自行车， 4.23电动骑乘玩具的速度，4.24热源玩具，4.25液体填充玩具，4.26口动玩具， 4.31 磁铁和磁铁部件 5.11.3绳的线电阻率测试，5.13.2玩具箱盖测试，5.17电动骑乘玩具的速度测试，5.18温升测试， 5.19液体填充玩具的渗漏， 5.20 口动玩具，5.28 玩具滑板车的刹车性能，5.30力把管强度测试，5.32磁通量测试，5.35弹射范围的测定，5.36硬质弹射物的尖端评估。 |  |
| 4 | 玩具及儿童用品 | 2 | 机械和物理性能 | 玩具安全-第一部分：物理和机械性能 EN 71-1:2014 | 不测： 4.11口动玩具及其它供放入口中的玩具， 4.13玩具风筝和其它飞行玩具的绳索，4.14.1c)儿童可进入玩具，4.15供承受儿童体体重的玩具，4.21带有非电热源的玩具， 4.23磁铁 ， 4.24 YoYo球，5.5液体填充玩具，5.6电动乘骑玩具的速度限制，8.15液体填充玩具的渗漏， 8.17口动玩具的耐用性，8.19绳索电阻率， 8.26刹车性能，8.29电动乘骑玩具最大设计速度的测量，8.30温升测试，8.31玩具箱盖， 8.34磁体拉力测试， 8.35磁通量指数，8.37悠悠球测量。 |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 16 CFR 1500.19错误标识的玩具和儿童用品 章节b),d),e),f) |  |  |
|  |  |  |  | 16 CFR 1500.48供八岁以下儿童使用的玩具或其他物品的锐利尖端测试技术要求 |  |  |
|  |  |  |  | 16 CFR 1500.49 供八岁以下儿童使用的玩具或其他物品的锐利边缘测试技术要求 |  |  |
|  |  |  |  | 16 CFR 1500.50 供儿童使用的玩具或其他物品的正确使用和滥用模拟试验 |  |  |
|  |  |  |  | 16 CFR 1500.51供年龄18个月以下儿童使用的玩具或其他物品的正确使用和滥用模拟试验 |  |  |
|  |  |  |  | 16 CFR 1500.52供年龄18个月以上36个月以下儿童使用的玩具或其他物品的正确使用和滥用模拟试验 |  |  |
|  |  |  |  | 16 CFR 1500.53供36个月以上96个月以下儿童使用的玩具或其他物品的正确使用和滥用模拟试验 |  |  |
|  |  |  |  | 16 CFR 1501 供3岁以下儿童使用的玩具或其他物品是否因小物件而使儿童发生窒息,吸出,咽入危险的鉴别方法 |  |  |
|  |  |  |  | 16 CFR 1510摇铃玩具的要求 |  |  |
|  |  |  |  | 16 CFR 1511 奶嘴的要求 |  |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 标准消费者安全规范：玩具安全ASTM F963-11条款： 4.1材料， |  |  |
|  |  |  |  | 4.6小零件， |  |  |
|  |  |  |  | 4.7可触及边缘， |  |  |
|  |  |  |  | 4.8突出物， |  |  |
|  |  |  |  | 4.9可触及尖端， |  |  |
|  |  |  |  | 4.10 金属丝或杆件， |  |  |
|  |  |  |  | 4.11 钉子和紧固件， |  |  |
|  |  |  |  | 4.12 包装薄膜， |  |  |
|  |  |  |  | 4.13折叠机构和铰链 |  |  |
|  |  |  |  | 4.14玩具中的绳子,带子和橡皮筋(不测:4.14.4飞行玩具的绳索、细绳或线 )， |  |  |
|  |  |  |  | 4.15稳定性和承载的要求， |  |  |
|  |  |  |  | 4.16封闭的空间， |  |  |
|  |  |  |  | 4.17车轮、轮胎和轮轴， |  |  |
|  |  |  |  | 4.18孔、间隙及机械装置的可触及性， |  |  |
|  |  |  |  | 4.19仿制防护装置， |  |  |
|  |  |  |  | 4.20.2安抚奶嘴， |  |  |
|  |  |  |  | 4.21弹射玩具， |  |  |
|  |  |  |  | 4.22出牙器和出牙用玩具， |  |  |
|  |  |  |  | 4.23摇铃， |  |  |
|  |  |  |  | 4.24挤压玩具， |  |  |
|  |  |  |  | 4.26可附在婴儿床或婴儿用围栏上的玩具， |  |  |
|  |  |  |  | 4.27填充类玩具， |  |  |
|  |  |  |  | 4.28婴儿小推车和婴儿车玩具， |  |  |
|  |  |  |  | 4.30玩具枪标识， |  |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 4.31气球， |  |  |
|  |  |  |  | 4.32带球形末端的玩具， |  |  |
|  |  |  |  | 4.33 弹球， |  |  |
|  |  |  |  | 4.34 球， |  |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 4.35 绒球， |  |  |
|  |  |  |  | 4.36半球形玩具， |  |  |
|  |  |  |  | 4.39下鄂可陷入的手柄和方向盘， |  |  |
|  |  |  |  | 5标识要求， |  |  |
|  |  |  |  | 6使用说明， |  |  |
|  |  |  |  | 7生产商标识， |  |  |
|  |  |  |  | 8.5正常使用 |  |  |
|  |  |  |  | 8.6滥用测试， |  |  |
|  |  |  |  | 8.7冲击测试， |  |  |
|  |  |  |  | 8.8部件移除的扭力测试， |  |  |
|  |  |  |  | 8.9部件移除的拉力测试， |  |  |
|  |  |  |  | 8.10压力测试， |  |  |
|  |  |  |  | 8.11轮胎移除试验和咬接式轮轴组合的试验， |  |  |
|  |  |  |  | 8.12挠曲测试， |  |  |
|  |  |  |  | 8.14弹射玩具， |  |  |
|  |  |  |  | 8.15骑乘玩具和座位的稳定性， |  |  |
|  |  |  |  | 8.16绒球， |  |  |
|  |  |  |  | 8.21包装薄膜厚度， |  |  |
|  |  |  |  | 8.22绳圈和绳索测试， |  |  |
|  |  |  |  | 8.25锁定装置或其他装置的测试方法， |  |  |
| 4 | 玩具及儿童用品 | 2 | 物理和机械性能 | 8.26骑乘玩具和玩具座椅的承载测试 |  |  |
|  |  | 3 | 燃烧性能 | 燃烧性能 GB 6675.3-2014 | 不测：4.1易燃气体、高度易燃液体、易燃液体和易燃凝胶体 |  |
|  |  |  |  | 玩具安全-第二部分：燃烧性能 ISO 8124-2:2014 | 不测：4.1 易燃气体、极度/高度易燃液体、易燃液体和易燃胶体 |  |
| 4 | 玩具及儿童用品 | 3 | 燃烧性能 | 玩具安全-第二部分：燃烧性能 EN 71-2:2011+A1:2014 | 不测：4.1易燃气体、极度/高度易燃液体、易燃液体和易燃胶体 |  |
| 4 | 玩具及儿童用品 | 3 | 燃烧性能 | 标准消费者安全规范 玩具安全 ASTM F963-11 条款 4.2 易燃性， A5 硬体和软体玩具的易燃性测试程序， A6 布料的易燃性测试程序 |  |  |
|  |  |  |  | 极易燃、易燃固体物燃烧性能测试方法 16 CFR 1500.44 |  |  |
|  |  | 4 | 总铅 | 美国玩具安全标准 ASTM F963-11 | 只测条款条款4.3.5.1(1) 4.3.5.2(2)(a) |  |
|  |  |  |  | 美国联邦危险品法 US 16 CFR 1303 检测油漆及其它相似的表面涂层中铅的标准操作程序 CPSC-CH-E1003-09.1 |  |  |
|  |  |  |  | 2008消費产品安全加強法(H.R.4040) 第101节化学测试 儿童金属产品(包括儿童金属首饰)的含铅量 CPSC-CH-E1001-08.3 |  |  |
| 4 | 玩具及儿童用品 | 4 | 总铅 | 2008消費产品安全加強法(H.R.4040) 第101节化学测试 非金属儿童产品的铅含量 CPSC-CH-E1002-08.3 |  |  |
|  |  |  |  | 2008消費产品安全加強法(H.R.4040) 第101节化学测试 检测油漆及其它相似的表面涂层中铅的标准操作程序 CPSC-CH-E1003-09.1 |  |  |
|  |  | 5 | 可溶出性铅、镉、铬、砷、硒、锑、钡、汞 | 玩具安全 第四部分：特定元素的迁移 GB 6675.4-2014 |  |  |
|  |  |  |  | 国际标准化组织 玩具安全中特定元素的迁移量 ISO 8124-3:2010+A1:2014 |  |  |
| 4 | 玩具及儿童用品 | 5 | 可溶出性铅、镉、铬、砷、硒、锑、钡、汞 | 美国玩具安全标准 ASTM F963-11 | 只测条款4.3.5.1(2) , 4.3.5.2(1), 4.3.5.2(2)(b), 8.3.2, 8.3.3, 8.3.4, 8.3.5 |  |
| 4 | 玩具及儿童用品 | 6 | 邻苯二甲酸盐类增塑剂（DBP、BBP、DEHP、DNOP、DINP、DIDP） | 儿童护理用品安全标准 EN 14372:2004 | 只测6.3.2节 |  |
|  |  |  |  | 2008消費产品安全加強法(H.R.4040) 第108节化学测试 检测邻苯二甲酸酯及其盐的标准操作程序 CPSC-CH-C1001-09.3 |  |  |
|  |  | 7 | 有机锡化合物（甲基锡、丁基锡、二丙基锡、二丁基锡、三丁基锡、正辛基锡、四丁基锡、二苯基锡、二正辛基锡、三苯基锡） | 玩具安全 第3部分-特定元素的迁移 EN71-3:2013+A1:2014 | 只测附录G：有机锡的测定 |  |
|  |  | 8 | 特定元素迁移（铅、镉、铬、砷、钡、汞、硒、锑、铝、硼、钴、铜、锰、镍、锶、锌、锡） | 玩具安全 第3部分-特定元素的迁移 EN 71-3:2013+A1:2014 |  |  |
| 4 | 玩具及儿童用品 | 9 | 特定元素迁移铬（Ⅲ）、铬（Ⅵ） | 玩具安全 第3部分-特定元素的迁移 EN 71-3:2013+A1:2014 | 只测附录F：三价铬与六价铬的分析方法；只测第三类:在玩具表面刮出物中 |  |
|  |  | 10 | 重金属元素铅、镉、铬、砷、硒、锑、钡、汞总含量 | 美国玩具安全标准 ASTM F963-11 | 只测: 条款4.3.5.2(1), 4.3.5.2(2)(b), 8.3.1 |  |
| 4 | 玩具及儿童用品 | 11 | 重金属元素铅、镉、铬、砷、硒、锑、钡、汞初筛 | 美国玩具安全标准 ASTM F963-11 | 只测: 条款4.3.5.2(1), 4.3.5.2(2)(b), 8.3.6 |  |
|  |  | 12 | 铅的初筛 | 通过采用多单色激励束的能量色散X线荧光光谱测定法测定漆层和类似涂层或者基底和同质材料中铅的试验方法 ASTM F2853-10 (Reapproved 2015) |  |  |
| 5 | 电子电器产品 | 1 | 多溴联苯、多溴联苯醚 | 电子产品中限用物质的测定 第6部分： 气相色谱质谱联用仪（GC/MS）测定多溴联苯和多溴联苯醚 IEC 62321-6:2015 | 只测附录A，仅用GC-MS法 |  |
|  |  | 2 | 铅、镉、汞、铬、溴的筛选 | 电子产品中限用物质的测定 第3-1部分： 使用X射线荧光光谱仪对电子产品中的铅、汞、镉、总铬和总溴的进行筛选 IEC 62321-3-1:2013 |  |  |
|  |  | 3 | 汞 | 电子产品中限用物质的测定 第4部分： 使用CV-AAS、CV-AFS、ICP-OES和ICP-MS测定聚合物、金属和电子材料中的汞 IEC 62321-4:2013 | 仅用ICP-OES法 |  |
|  |  | 4 | 铅、镉、铬 | 电子产品中限用物质的测定 第5部分： 使用AAS、AFS、ICP-OES和ICP-MS测定聚合物和电子材料中的镉、铅和铬，以及金属中的铅和镉 IEC 62321-5:2013 | 仅用ICP-OES法 |  |
|  |  | 5 | 六价铬 | 电子产品中限用的六种物质（铅、镉、汞、六价铬、多溴联苯、多溴二苯醚）浓度的测定程序 IEC 62321:2008 | 只测附录C； 只测非金属 |  |
| 5 | 电子电器产品 | 5 | 六价铬 | 电子产品中限用物质的测定 第7-1部分： 六价铬——比色法测定金属无色和有色的防腐镀层中的六价铬含量 IEC 62321-7-1:2015 |  |  |
| 6 | 首饰和饰品 | 1 | 镍释放量 | 关于刺穿人体并直接接触和长期接触皮肤的产品镍释放含量测定方法 EN 1811:2011 |  |  |
|  |  |  |  | 关于接触和长期接触皮肤的镜框和太阳镜产品镍释放含量测定方法 EN 16128:2011 |  |  |
|  |  |  |  | 经磨损与腐蚀的电镀产品镍释放量的测试 EN 12472：2005+A1:2009 |  |  |
|  |  |  |  | 直接和长期接触皮肤的物品的合金和镀层中镍释放的屏蔽试验 BS PD CR12471-2002 |  |  |
| 7 | 包装材料 | 1 | 铅、镉、汞 | 硅和有机物机体的微波辅助酸解法 EPA 3052:1996 |  |  |
|  |  |  |  | 电感耦合等离子体原子发射光谱仪测定法 EPA 6010D:2014 |  |  |
|  |  | 2 | 六价铬 | 六价铬的碱性消解 EPA3060A:1996 |  |  |
|  |  |  |  | 六价铬比色测试法 EPA7196A:1992 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

SCHEDULE OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L8278)

NAME: Eurofins Product Testing Service(Shanghai) Co., Ltd. Hangzhou Branch

ADDRESS: 2/F., Building 4, Huaye Hi-Tech Industrial Park, No.1180, Bin'an Road, Binjiang District, Hangzhou, Zhejiang, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2016-01-18                      Date of Expiry:2019-01-17

SCHEDULE 2  ACCREDITED TESTING SCOPE

| № | Test Object | Item/Parameter | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Textiles | 1 | Fabric Weight | Textiles -- Woven fabrics -- Determination of mass per unit length and mass per unit area ISO 3801:1977 |  |  |
|  |  |  |  | Standard Test Methods for Mass Per Unit Area (Weight) of Fabric ASTM D3776/ D3776M-09ae2(2013) | Accredited only for: Option C |  |
| 1 | Textiles | 1 | Fabric Weight | Standard Specification for Tolerances for Knitted Fabrics ASTM D3887-96(2008) | Accredited only for: Section 9 |  |
|  |  | 2 | Fabric Count | Textiles -- Woven fabrics -- Construction -- Methods of analysis -- Part 2: Determination of number of threads per unit length ISO 7211/2:1984 |  |  |
|  |  |  |  | Standard Test Method for Warp (End) and Filling (Pick) Count of Woven Fabrics ASTM D3775-12 |  |  |
|  |  |  |  | Standard Specification for Tolerances for Knitted Fabrics ASTM D3887-96(2008) | Accredited only for: Section 12 |  |
| 1 | Textiles | 3 | Dimensional Stability | Textiles - Preparation, marking and measuring of fabric specimens and garments in tests for determination of dimensional change GB/T 8628 – 2013 |  |  |
|  |  |  |  | Textiles - Domestic washing and drying procedures for textile testing GB/T 8629-2001 |  |  |
|  |  |  |  | Textiles - Determination of dimensional change in washing and drying GB/T 8630-2013 |  |  |
|  |  |  |  | Textiles - Domestic washing and drying procedures for textile testing ISO 6330:2012 | Except for: Type C washer procedure |  |
|  |  |  |  | Textiles - Preparation, marking and measuring of fabric specimens and garments in tests for determination of dimensional change ISO 3759:2011 |  |  |
| 1 | Textiles | 3 | Dimensional Stability | Textiles - Determination of dimensional change in washing and drying ISO 5077:2007 |  |  |
|  |  |  |  | Dimensional Changes of Fabrics after Home Laundering AATCC 135-2014 |  |  |
|  |  |  |  | Dimensional Changes of Garments after Home Laundering AATCC 150-2012 |  |  |
|  |  |  |  | Skewness Change in Fabric and Garment Twist Resulting from Automatic Home Laundering AATCC 179-2012 |  |  |
|  |  | 4 | Flammability | Standard for the flammability of clothing textiles US 16 CFR Part 1610-2009 | Except for dry cleaning |  |
|  |  | 5 | Ordur | National general safety technical code for textile products GB 18401-2009 6.7 |  |  |
| 1 | Textiles | 6 | Colorfastness to Perspiration | Textiles - Test method for colour fastness to perspiration GB/T 3922-2013 | Except for instrumental assessment |  |
|  |  |  |  | Textiles - Tests for colour fastness - Part E04: Colour fastness to perspiration ISO 105-E04:2013 |  |  |
|  |  |  |  | Colorfastness to Perspiration AATCC 15-2013 | Except for instrumental assessment |  |
|  |  | 7 | Colorfastness to Crocking | Textiles - Tests for colour fastness - Colour fastness to rubbing GB/T 3920-2008 |  |  |
|  |  |  |  | Textiles - Tests for colour fastness - Part X12: Colour fastness to rubbing ISO 105-X12:2002 |  |  |
|  |  |  |  | Colorfastness to Crocking: Crockmeter Method AATCC 8-2013 | Except for instrumental assessment |  |
|  |  | 8 | Colorfastness to Water | Textiles — Tests for colour fastness — Colour fastness to water GB/T 5713-2013 |  |  |
| 1 | Textiles | 8 | Colorfastness to Water | Textiles - Tests for colour fastness - Part E01: Colour fastness to water ISO 105 E01:2013 |  |  |
|  |  |  |  | Colorfastness to Water AATCC 107-2013 |  |  |
|  |  | 9 | Colorfastness to sea water | Textiles - Tests for colour fastness - Part E02: Colour fastness to sea water ISO 105 E02:2013 |  |  |
|  |  |  |  | Colorfastness to Water: Sea AATCC 106-2013 | Except for instrumental assessment |  |
|  |  | 10 | Colorfastness to washing | Textiles - Tests for colour fastness - Part C06: Colour fastness to domestic and commercial laundering ISO 105-C06:2010 | Except for instrumental assessment |  |
|  |  |  |  | Colorfastness to Laundering: Accelerated AATCC 61-2013 | Accredited only for: 1A, 2A |  |
|  |  | 11 | Colour fastness to saliva | Textiles - Tests for fastness - Colour fastness to saliva GB/T 18886-2002 |  |  |
| 1 | Textiles | 12 | Fiber Analysis (Qualitative) | Test method for identification of textile fibres --Introduction FZ/T 01057.1 – 2007 |  |  |
|  |  |  |  | Test method for identification of textile fibres -- Burning behavior FZ/T 01057.2 – 2007 |  |  |
|  |  |  |  | Test method for identification of textile fibres -- Microscopy FZ/T 01057.3 – 2007 |  |  |
|  |  |  |  | Test method for identification of textile fibres -- Solubility FZ/T 01057.4 – 2007 |  |  |
|  |  |  |  | Fiber Analysis Qualitative AATCC 20-2013 | Except for: 9.4 Refractive Index, 9.6 Density,9.8 Drying twist test 9.9 Stain Tests, 9.10 Melting |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Textile - Quantitative chemical analysis - Part:1 General principles of testing GB/T 2910.1-2009 ISO 1833-1:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 2: Ternary fibre mixtures GB/T 2910.2-2009 ISO 1833-2:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 3: Mixtures of acetate and certain other fibres (method using acetone) GB/T 2910.3-2009 ISO 1833-3:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 4: Mixtures of certain protein and certain other fibres (method using hypochlorite) GB/T 2910.4-2009 ISO 1833-4:2006 |  |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Textiles - Quantitative chemical analysis - Part 6: Mixtures of viscose or certain types of cupro or modal or lyocell and cotton fibres (method using formic acid and zinc chloride) ISO 1833-6:2007 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 7: Mixtures of polyamide 6 or polyamide 6.6 and ceretain other fibres (method using formic acid) GB/T 2910.7-2009 ISO 1833-7:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 8: Mixtures of acetate and triacetate fibres (method using acetone) ISO 1833-8:2006 |  |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Textiles - Quantitative chemical analysis - Part 10: Mixtures of triacetate and certain other fibres (method using dichloromethane) ISO 1833-10:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 11: Mixtures of cellulose and polyester fibres (method using sulfuric acid) GB/T 2910.11-2009 ISO 1833-11:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 12: Mixtures of acrylic, certain modacrylics or chloroffibres and certain other fibres (method using dimethylformamide) GB/T 2910.12-2009 ISO 1833-12:2006 |  |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Textiles - Quantitative chemical analysis - Part 14: Mixtures of acetate and certain chlorofibres (method using acetic acid) ISO 1833-14:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 16: Mixtures of polypropylene fibres and certain other fibres (method using xylene) ISO 1833-16:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 17: Mixtures of silk and wool or hair (method using sulfuric acid) ISO 1833-17:2006 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 18: Mixtures of silk and wool or hair (method using sulfuric acid) GB/T 2910.18-2009 ISO 1833-18:2006 |  |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Textiles - Quantitative chemical analysis - Part 20: Mixtures of elastane and certain other fibres (method using dimethylacetamide) GB/T 2910.20-2009 ISO 1833-20:2009 |  |  |
|  |  |  |  | Textiles - Quantitative chemical analysis - Part 21: Mixtures of chlorofibres, some modacrylics, some elastanes, acetates, triacetates and some other fibres (method using cyclohexanone) ISO 1833-21:2006 |  |  |
|  |  |  |  | Textile-Quantitative chemical analysis- Quaternary fiber mixtures FZ/T 01026-2009 |  |  |
| 1 | Textiles | 13 | FiberAnalysis (Quantitative method – mechanical separation and chemical) | Fiber Analysis: Quantitative AATCC 20A-2014 | Expect for: 12.7 Dimethyformamide,12.9 Alkaline methanol, 12.11 4%lithium chloride in N,N-dimethylacetamide & 14 Microscopical analysis produres |  |
|  |  | 14 | Formaldehyde | Textiles-Determination of formaldehyde-part 1: free and hydrolyzed formaldehyde（water extraction method） GB/T 2912.1:2009 ISO14184-1:2011 |  |  |
|  |  | 15 | pH | Textiles- Method for determination of pH from aqueous extract GB/T 7573-2009 ISO 3071:2005 |  |  |
|  |  |  |  | pH of the Water-Extract from Wet Processed Textiles AATCC 81-2012 |  |  |
| 1 | Textiles | 16 | aromatic amines | Textiles Determination of azo dyes GB/T 17592-2011 | Accredited only for GC-MS method |  |
|  |  |  |  | Textiles- Method for determination of 4-(phenylazo)-Benzenamine GB/T 23344-2009 |  |  |
|  |  | 16 | aromatic amines | Textiles-Methods for determination of certain aromatc amines derived from azo colorants-Part 1:Determination of the use of certain azo colorants accessible with and without extracting the fibers EN 14362-1:2012 BS EN 14362-1:2012 | Accredited only for GC-MS method |  |
| 1 | Textiles | 16 | aromatic amines | Textiles - Methods for determination of certain aromatic amines derived from azo colorants - Part 3: Detection of the use of certain azo colorants, which may release 4-aminoazobenzene EN 14362-3:2012 BS EN 14362-3:2012 |  |  |
| 2 | Textile Products | 1 | All the parameters | National general safety technical code for textile products GB 18401-2010 |  |  |
| 3 | Children’s clothing | 1 | Safty of cords and drawstrings | Safety of children clothing - Cords and drawstrings on children clothing - Specifications EN 14682:2014 |  |  |
|  |  | 2 | Safty for Drawstrings | Standard Safety Specification for Drawstrings on Children's Upper Outerwear ASTM F1816－97(2009) |  |  |
| 4 | Toys and Children’s Products | 1 | Instructions for use | Instructions for use of products of consumer interest- Part 5: toys GB 5296.5-2006 |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | National safety technical code for toys GB 6675.2-2014 | Except for:4.16.2.2 b)Lid support for toy chests and similar toys,4.18 Projectile toys4.21 toy bicycles 4.22 speed limitation of electrically driven ride-on toys 4.23toys containing a heat source 4.24 soft-filled toy. 4.25mouth-actuated toy, 4.29 magnets and magnetic components 5.11.3electric resistance of cords, 5.13.2Toy chest lids,5.18 determination of temperature increases 5.19 leakage of liquid-filled toys, 5.20 durability of mouth-actuated toys .5.27 magnetic flux index |  |
| 4 |  | 2 | Physical and Mechanical Properties | Safety of Toys - Part1: Safety aspects related to mechanical and physical properties ISO 8124-1:2014 | Except for: 4.11.7 Cords, strings and lines for flying toys,4.16.2.2 Lid support for toy chests and similar toys,4.19 Rotors and propellers, 4.22 toy bicycles 4.23 speed limitation of electrically driven ride-on toys,4.24 Toys containing a heat source,4.25 liquil-filled toys, 4.26 mouth-actuated toys, 4.31 magnets and magnetic components, 5.11.3 Electric resistance of cords,5.13.2 Toy chest lids,5.17 determination of speed of electrically driven ride-on, 5.18 Determination of temperature increases,5.19 leakage of liquid-filled toys,5.20durability of moyth-actuated toys.5.28 Brake performance for toy scooters,5.30 Resistance to separation of handlebar,5.32 Magnetic flux index,5.35 Determination of projectile range,5.36 Tip assessment of rigid projectiles |  |
| 4 |  | 2 | Physical and Mechanical Properties | Safety of Toys- Part 1: Mechanical and Physical Properties EN71-1:2014 | Except for:4.11mouth-actuated toys and other toys intended to be put in the mouth, 4.13cords of toy kites and other flying toys. 4.14.1c) Toys which a child can enter,4.15toy intended to bear the mass of a child,4.21 Toys containing a non-electrical heat source,4.23magnets, 4.24 YoYo Balls, 5.5 liquid-filled toys, 5.6 speed limitation of electrically-driben ride-on,8.15 leakage of liquid-filled toys,8.17 durability of mouth-actuated toys, 8.19 electric resistivity of cords, 8.26brake periormance, 8.29determination of maximum design speed of electrically-driven ride-on toys, 8.30 Measurement of temperature rises,8.31 Toy chest lids,8.34tension test for magnets, 8.35 magnetic flus index, 8.37 YoYo Balls |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 16 CFR 1500.19 Misbranded toys and other articles intended for use by children chapter b),d),e),f) |  |  |
|  |  |  |  | 16 CFR 1500.48 Technical requirements for determining a sharp point in toys and other articles intended for use by children under 8 years of age |  |  |
|  |  |  |  | 16 CFR 1500.49 Technical requirements for determining a sharp metal or glass edge in toys and other articles intended for use by children under 8 years of age |  |  |
|  |  |  |  | 16 CFR 1500.50Test methods for simulating use and abuse of toys and other articles intended for use by children. |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 16 CFR 1500.51Test methods for simulating use and abuse of toys and other articles intended for use by children 18 months of age or less |  |  |
|  |  |  |  | 16 CFR 1500.52Test methods for simulating use and abuse of toys and other articles intended for use by children over 18 but not over 36 months of age. |  |  |
|  |  |  |  | 16 CFR 1500.53Test methods for simulating use and abuse of toys and other articles intended for use by children over 36 but not over 96 months of age. |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 16 CFR 1501 Method for identifying toys and other articles intended for use by children under 3 years of age which present chocking, aspiration, or ingestion hazards because of small parts. |  |  |
|  |  |  |  | 16 CFR 1510 Requirements for Rattles |  |  |
|  |  |  |  | 16 CFR1511Requirements for Pacifiers |  |  |
|  |  |  |  | Standard consumer safety specification for Toy Safety ASTM F963-11 Section: 4.1 Material Quality, |  |  |
|  |  |  |  | 4.6 Small Objects |  |  |
|  |  |  |  | 4.7 Accessible Edges, |  |  |
|  |  |  |  | 4.8 Projections, |  |  |
|  |  |  |  | 4.9 Accessible Points, |  |  |
|  |  |  |  | 4.10 Wires or Rods, |  |  |
|  |  |  |  | 4.11 Nails and Fasteners, |  |  |
|  |  |  |  | 4.12 Plastic Film, |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 4.13 Folding Mechanisms and Hinges, |  |  |
|  |  |  |  | 4.14 Cords, Straps, and Elastics(Except for 4.14.4Strings and Lines for Flying Devices) |  |  |
|  |  |  |  | 4.15 Stability of Ride-On Toys and Toy Seats, |  |  |
|  |  |  |  | 4.16 confined Spaces, |  |  |
|  |  |  |  | 4.17 Wheels, Tires, and Axles, |  |  |
|  |  |  |  | 4.18Holes,Clearances, and Accessibility of Mechanisms, |  |  |
|  |  |  |  | 4.19 Simulated Protective Devices, |  |  |
|  |  |  |  | 4.20.2 Pacifiers, |  |  |
|  |  |  |  | 4.21 Projectile Toys, |  |  |
|  |  |  |  | 4.22 Teethers and Teething Toys, |  |  |
|  |  |  |  | 4.23 Rattles, |  |  |
|  |  |  |  | 4.24 Squeeze Toys, |  |  |
|  |  |  |  | 4.26 Toys Intended to be Attached to a Crib or Playpen |  |  |
|  |  |  |  | 4.27 Stuffed and Beanbag-Type Toys, |  |  |
|  |  |  |  | 4.28 Stroller and Carriage Toys, |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 4.30 Toy Gun Marking, |  |  |
|  |  |  |  | 4.31 Balloons, |  |  |
|  |  |  |  | 4.32 Certain Toys with Spherical Ends, |  |  |
|  |  |  |  | 4.33 Marbles, |  |  |
|  |  |  |  | 4.34 Balls， |  |  |
|  |  |  |  | 4.35 Pompoms， |  |  |
|  |  |  |  | 4.36 Hemispheric-Shaped Objects， |  |  |
|  |  |  |  | 4.39 Jaw Entrapment in Handles and Steering Wheels， |  |  |
|  |  |  |  | 5 Safety Labeling Requirements， |  |  |
|  |  |  |  | 6 Instructional Literature， |  |  |
|  |  |  |  | 7 Producer’s Markings |  |  |
|  |  | 2 | Physical and Mechanical Properties | 8.5 Normal Use Testing， |  |  |
|  |  |  |  | 8.6 Abuse Testing， |  |  |
|  |  |  |  | 8.7 Impact Tests， |  |  |
|  |  |  |  | 8.8 Torque Tests for Removal of Components， |  |  |
| 4 | Toys and Children’s Products | 2 | Physical and Mechanical Properties | 8.9 Tension Test for Removal of Components， |  |  |
|  |  |  |  | 8.10 Compression Test， |  |  |
|  |  |  |  | 8.11 Axle Assembly Removal， |  |  |
|  |  |  |  | 8.12 Flexure Test， |  |  |
|  |  |  |  | 8.14 Projectiles， |  |  |
|  |  |  |  | 8.15Test for stability of ride-on toys. |  |  |
|  |  |  |  | 8.16 PomPom Test |  |  |
|  |  |  |  | 8.21 Packaging Film Thickness， |  |  |
|  |  |  |  | 8.22 Test for Loops and Cords， |  |  |
|  |  |  |  | 8.25 Test Methods for Locking Mechanisms, |  |  |
|  |  |  |  | 8.26Test for overload of ride-on toys and toy seats |  |  |
|  |  | 3 | Flammability | Flammability GB 6675.3-2014 | Except for:Except for Clause:4.1 Flammable gases, high flammableliquids, flammable liquids & flammable gels. |  |
| 4 | Toys and Children’s Products | 3 | Flammability | Safety of Toys-Part 2: Flammability ISO 8124-2:2014 | Except for Clause: 4.1 Flammable gases, extremely flammable liquids, high flammable liquids, flammable liquids & flammable gels. |  |
|  |  |  |  | Safety of Toys- Part 2: Flammability EN 71-2:2011+A1:2014 | Except for Clause: 4.1 Flammable gases, extremely flammable liquids, high flammable liquids, flammable liquids & flammable gels. |  |
| 4 | Toys and Children’s Products | 3 | Flammability | Standard Consumer Safety Specification for Toy Safety ASTM F963-11 Section： 4.2, Flammability， A5 Flammability Testing Procedure for Solids and Soft Toys， A6 Flammability Testing Procedure for Fabrics |  |  |
|  |  | 3 | Flammability | Methods for determining extremely flammable and flammable solids 16 CFR 1500.44 |  |  |
|  |  | 4 | Total Lead | Standard Consumer Safety Specification on Toy Safety ASTM F963-11 clause 4.3.5.1(1), 4.3.5.2(2)(a) |  |  |
| 4 | Toys and Children’s Products | 4 | Total Lead | Ban of Lead-Containing Paint and Certain Counsumer Products Bearing Lead-Containing Paint CPSC 16 CFR Part 1303 Determining Lead (Pb) in Paint and Other Similar Surface Coatings CPSC-CH-E1003-09.1 |  |  |
|  |  |  |  | US Consumer Product Safety Improvement Act of 2008 (H.R.4040) Section 101 Lead in Metal Products (Contain Children's metal Jewelry) CPSC-CH-E1001-08.3 |  |  |
|  |  |  |  | US Consumer Product Safety Improvement Act of 2008 (H.R.4040) Section 101 Lead in nonmetal Children's products CPSC-CH-E1002-08.3 |  |  |
| 4 | Toys and Children’s Products | 4 | Total Lead | US Consumer Product Safety Improvement Act of 2008 (H.R.4040) Section 101 Standard Operating Procedure for Determining Lead (Pb) in Paint and Other Similar Surface Coatings CPSC-CH-E1003-09.1 |  |  |
|  |  | 5 | Soluble (Lead, Cadmium, Chromium, Arsenic, Selenium, Antimony, Barium, mercury) | National safety technical code for toys) GB 6675.4-2014 |  |  |
|  |  |  |  | Migration of Certain Elements ISO 8124-3:2010+A1:2014 |  |  |
|  |  |  |  | Standard Consumer Safety Specification for Toy Safety ASTM F963-11 | Accredited only for Section: 4.3.5.1(2) , 4.3.5.2(1), 4.3.5.2(2)(b), 8.3.2, 8.3.3, 8.3.4, 8.3.5 |  |
| 4 | Toys and Children’s Products | 6 | Phthalates（DBP、BBP、DEHP、DNOP、DINP、DIDP） | Child use and care articles-Cutlery and feeding utensils- Safety requirements and tests EN 14372:2004 | Accredited only for section 6.3.2 |  |
|  |  |  |  | US Consumer Product Safety Improvement Act of 2008 (H.R.4040) Section 108 Standard Operating Procedure for Determination of Phthalates CPSC-CH-C1001-09.3 |  |  |
|  |  | 7 | Organotin (MeT、BuT、DPrT、DBT、TBT、MOT、TeBT、DPhT、DOT、TPhT） | Safety of toys-Part 3: Migration of certain elements EN71-3:2013+A1：2014 | Accredited only for Annex G：Method of analysis for organic tin |  |
|  |  | 8 | Soluble（Pb,Cd,Cr,As,Ba,Hg,Se,Sb,Al,B,Co,Cu,Mn,Ni,Sr,Zn,Sn） | Safety of toys Part 3: Migration of certain elements. EN 71-3:2013+A1:2014 |  |  |
| 4 | Toys and Children’s Products | 9 | Soluble chromium(Ⅵ),chromium(Ⅲ) | Safety of toys Part 3: Migration of certain elements. EN 71-3:2013+A1:2014 | Accredited only for Annex F Methods of analysis for speciation of Chromium (III) and (VI)Accredited ；only for category 3：in scraped-off toy material |  |
|  |  | 10 | Total Heavy Metal content (Lead, Cadmium, Chromium, Arsenic, Selenium, Antimony, Barium, mercury) | Standard consumer safety specification for Toy Safety ASTM F963-11 | Accredited only for4.3.5.2(1), 4.3.5.2(2)(b), 8.3.1 |  |
| 4 | Toys and Children’s Products | 11 | Primary sreening-heavy metal content (Lead, Cadmium, Chromium, Arsenic, Selenium, Antimony, Barium, mercury) | Standard consumer safety specification for Toy Safety ASTM F963-11 | Accredited only for4.3.5.2(1), 4.3.5.2(2)(b), 8.3.6 |  |
|  |  | 12 | Lead primary screen | Standard Test Method for Determination of Lead in Paint Layers and Similar Coatings or in Substrates and Homogenous Materials by Energy Dispersive X-Ray Fluorescence Spectrometry Using Multiple Monochromatic Excitation Beams ASTM F2853-10(Reapproved 2015) |  |  |
| 5 | Electrical and electronic equipments | 1 | Polybrominated biphenyls, polybrominated diphenyl ethers | Determination of certain substances in electrotechnical products IEC 62321-6:2015 | Accredited only for Annex A， GC-MS method |  |
| 5 | Electrical and electronic equipments | 2 | Sreening-Lead, mercury, cadmium, total chromium and total bromine | Determination of certain substances in electrotechnical products Part3-1:Sreening-Lead, mercury, cadmium, total chromium and total bromine by X-ray fluorescence spectrometry IEC 62321-3-1:2013 |  |  |
|  |  | 3 | Mercury | Determination of certain substances in electrotechnical products – Part 4: Mercury in polymers, metals and electronics by CV-AAS, CV-AFS, ICP-OES and ICP-MS, IEC 62321-4:2013 | Accredited only for ICP-OES method |  |
| 5 | Electrical and electronic equipments | 4 | Lead, Cadmium, Chromium | Determination of certain substances in electrotechnical products – Part 5: Cadmium, lead and chromium in polymers and electronics and cadmium and lead in metals by AAS, AFS, ICP-OES and ICP-MS, IEC 62321-5:2013 | Accredited only for ICP-OES method |  |
|  |  | 5 | Chromium(VI) | Electrotechnical products. Determination of levels of six regulated substances (lead,mercury,cadmium,hexavalent chromium,polybrominated biphenyls,polybrominated diphenyl ethers), IEC 62321 :2008 | Accredited only for Appendix C；Accredited only for Non-metal |  |
| 5 | Electrical and electronic equipments | 5 | Chromium(VI) | Determination of certain substances in electrotechnical products - Part 7-1: Hexavalent chromium - Presence of hexavalent chromium (Cr(VI)) in colourless and coloured corrosion-protected coatings on metals by the colorimetric method IEC 62321-7-1:2015 |  |  |
| 6 | Jewelry and ornaments | 1 | Nickel Release | Reference test method for release of nickel from all post assemblies which are inserted into pierced parts of the human body and articles intended to come into direct and prolonged contact with the skin EN 1811:2011 |  |  |
| 6 | Jewelry and ornaments | 1 | Nickel Release | Reference test method for release of nickel from those parts of spectacle frames and sunglasses intended to come into close and prolonged contact with the skin EN 16128:2011 |  |  |
|  |  |  |  | Method for the simulation of wear and corrosion for the detection of nickel release from coated items EN 12472:2005+A1:2009 |  |  |
|  |  |  |  | Screening tests for nickel release from alloys and coatings in items that come into direct and prolonged contact with the skin BS PD CR12471-2002 |  |  |
| 7 | Packing Material | 1 | Lead, Cadmium, Mercury | Microwave assisted acid digestion of silicic acid and organic matrix EPA 3052:1996 |  |  |
| 7 | Packing Material | 1 | Lead, Cadmium, Mercury | Inductively Coupled Plasma-Atomic Emission Spectrometry, EPA 6010D:2014 |  |  |
|  |  | 2 | Chromium(VI) | Alkaline digestion for hexavalent chromium EPA 3060A:1996 |  |  |
|  |  |  |  | Chromium, Hexavalent -Colorimetrie EPA 7196A:1992 |  |  |